## Dashboard
SAN ANTONIO BESS DEPLOYMENT
38 Municipal Buildings - Executive Dashboard
FLEET SUMMARY |  |  | FINANCIAL SUMMARY
Total Capacity (MW) |  |  | Total CAPEX ($M)
Total Buildings | 38 |  | Annual Revenue ($M)
Avg System Size (kW) |  |  | 20-Year NPV ($M)
Total Battery (MWh) |  |  | IRR (%)
Payback (years)
VALUE STACK ($/kW-year) |  |  | ANNUAL REVENUE BY SOURCE
Demand Charges |  |  | Demand Charges
CPS Energy DR |  |  | CPS Energy DR
ERCOT Call Option |  |  | ERCOT Call Option
Infrastructure |  |  | Infrastructure
Resilience |  |  | Resilience
Energy Arbitrage |  |  | Energy Arbitrage
TOTAL |  |  | TOTAL
TOP 10 PRIORITY BUILDINGS |  |  | DEPLOYMENT PHASES
Rank | Building | Score
1 |  |  | Phase 1 (Year 1) | buildings
2 |  |  | Phase 2 (Year 2) | buildings
3 |  |  | Phase 3 (Year 3) | buildings
4
5
6
7
8
9
10

## Building Inventory
Building ID | Building Name | Address | Building Type | Proposed BESS Size (kW) | Battery Capacity (kWh) | CPS Account Number | Rate Schedule | Peak Demand (kW) | Annual Energy (kWh) | Current Demand Charge ($/month) | Distribution Feeder ID | Critical Facility | Priority Score | Phase Assignment | Notes
B001 | Emergency Operations Center | 1100 Example St, San Antonio, TX 78201 | Emergency Ops | 125 |  | 1234567801 | LGS | 165 | 577500 | 2970 | FEEDER-41A
B002 | 911 Call Center | 1200 Example St, San Antonio, TX 78201 | 911 Center | 150 |  | 1234567802 | LGS | 200 | 700000 | 3600 | FEEDER-42A
B003 | Police Headquarters | 1300 Example St, San Antonio, TX 78201 | Police | 100 |  | 1234567803 | LGS | 160 | 560000 | 2880 | FEEDER-43A
B004 | Fire Station #1 | 1400 Example St, San Antonio, TX 78201 | Fire | 125 |  | 1234567804 | LGS | 195 | 682500 | 3510 | FEEDER-44A
B005 | Water Treatment Control Center | 1500 Example St, San Antonio, TX 78201 | Water Control | 150 |  | 1234567805 | LGS | 180 | 630000 | 3240 | FEEDER-45A
B006 | City Hall | 1600 Example St, San Antonio, TX 78201 | City Hall | 100 |  | 1234567806 | GS | 140 | 490000 | 2520 | FEEDER-46A
B007 | Parks Department | 1700 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567807 | LGS | 175 | 612500 | 3150 | FEEDER-47A
B008 | Public Works Building | 1800 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567808 | LGS | 210 | 735000 | 3780 | FEEDER-48A
B009 | Library Main Branch | 1900 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567809 | LGS | 170 | 595000 | 3060 | FEEDER-49A
B010 | Municipal Building #10 | 2000 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567810 | LGS | 155 | 542500 | 2790 | FEEDER-50A
B011 | Municipal Building #11 | 2100 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567811 | LGS | 190 | 665000 | 3420 | FEEDER-51A
B012 | Municipal Building #12 | 2200 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567812 | GS | 150 | 525000 | 2700 | FEEDER-52A
B013 | Municipal Building #13 | 2300 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567813 | LGS | 185 | 647500 | 3330 | FEEDER-53A
B014 | Municipal Building #14 | 2400 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567814 | LGS | 220 | 770000 | 3960 | FEEDER-54A
B015 | Municipal Building #15 | 2500 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567815 | GS | 130 | 455000 | 2340 | FEEDER-40A
B016 | Municipal Building #16 | 2600 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567816 | LGS | 165 | 577500 | 2970 | FEEDER-41A
B017 | Municipal Building #17 | 2700 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567817 | LGS | 200 | 700000 | 3600 | FEEDER-42A
B018 | Municipal Building #18 | 2800 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567818 | LGS | 160 | 560000 | 2880 | FEEDER-43A
B019 | Municipal Building #19 | 2900 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567819 | LGS | 195 | 682500 | 3510 | FEEDER-44A
B020 | Municipal Building #20 | 3000 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567820 | LGS | 180 | 630000 | 3240 | FEEDER-45A
B021 | Municipal Building #21 | 3100 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567821 | GS | 140 | 490000 | 2520 | FEEDER-46A
B022 | Municipal Building #22 | 3200 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567822 | LGS | 175 | 612500 | 3150 | FEEDER-47A
B023 | Municipal Building #23 | 3300 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567823 | LGS | 210 | 735000 | 3780 | FEEDER-48A
B024 | Municipal Building #24 | 3400 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567824 | LGS | 170 | 595000 | 3060 | FEEDER-49A
B025 | Municipal Building #25 | 3500 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567825 | LGS | 155 | 542500 | 2790 | FEEDER-50A
B026 | Municipal Building #26 | 3600 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567826 | LGS | 190 | 665000 | 3420 | FEEDER-51A
B027 | Municipal Building #27 | 3700 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567827 | GS | 150 | 525000 | 2700 | FEEDER-52A
B028 | Municipal Building #28 | 3800 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567828 | LGS | 185 | 647500 | 3330 | FEEDER-53A
B029 | Municipal Building #29 | 3900 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567829 | LGS | 220 | 770000 | 3960 | FEEDER-54A
B030 | Municipal Building #30 | 4000 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567830 | GS | 130 | 455000 | 2340 | FEEDER-40A
B031 | Municipal Building #31 | 4100 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567831 | LGS | 165 | 577500 | 2970 | FEEDER-41A
B032 | Municipal Building #32 | 4200 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567832 | LGS | 200 | 700000 | 3600 | FEEDER-42A
B033 | Municipal Building #33 | 4300 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567833 | LGS | 160 | 560000 | 2880 | FEEDER-43A
B034 | Municipal Building #34 | 4400 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567834 | LGS | 195 | 682500 | 3510 | FEEDER-44A
B035 | Municipal Building #35 | 4500 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567835 | LGS | 180 | 630000 | 3240 | FEEDER-45A
B036 | Municipal Building #36 | 4600 Example St, San Antonio, TX 78201 | Standard | 100 |  | 1234567836 | GS | 140 | 490000 | 2520 | FEEDER-46A
B037 | Municipal Building #37 | 4700 Example St, San Antonio, TX 78201 | Standard | 125 |  | 1234567837 | LGS | 175 | 612500 | 3150 | FEEDER-47A
B038 | Municipal Building #38 | 4800 Example St, San Antonio, TX 78201 | Standard | 150 |  | 1234567838 | LGS | 210 | 735000 | 3780 | FEEDER-48A

## Value Calculations
Building-Specific Revenue Streams
Building ID | BESS (kW) | 1. Demand Charge | Summer Demand (kW) | Winter Demand (kW) | Summer Rate ($/kW-mo) | Winter Rate ($/kW-mo) | Peak Reduction % | Annual Savings ($) | $/kW-year | 2. CPS Energy DR | Expected Events | Summer Rate ($/kW-season) | Winter Rate ($/kW-total) | Annual Revenue ($) | $/kW-year | 3. ERCOT Call Option | Call Value ($/kW-month) | Annual Revenue ($) | $/kW-year | 4. Infrastructure Deferral | Feeder Upgrade Cost ($) | Feeder Capacity (kW) | Years Deferred | Proportional Deferral ($) | Annualized Value ($) | $/kW-year | 5. Resilience Value | VOLL ($/kWh) | Outage Hours/year | Critical Load (kW) | Annual Value ($) | $/kW-year | 6. Energy Arbitrage | Annual Cycles | Margin per Cycle ($) | Annual Value ($) | $/kW-year | TOTAL VALUE | Total Annual ($) | $/kW-year
B001 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B002 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B003 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B004 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B005 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B006 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B007 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B008 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B009 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B010 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 2000000 | 500 | 7 | [10 empty] | 220
B011 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B012 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B013 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B014 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B015 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B016 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B017 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B018 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B019 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B020 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B021 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B022 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B023 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B024 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B025 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 1000000 | 500 | 5 | [10 empty] | 220
B026 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B027 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B028 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B029 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B030 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B031 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B032 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B033 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B034 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B035 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B036 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B037 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
B038 |  |  |  |  | 22 | 12 | 0.8 |  |  |  | 25 | 73 | 45 |  |  |  | 8.5 |  |  |  | 0 | 500 | 0 | [10 empty] | 220
FLEET TOTALS
Total Capacity (MW)
Average $/kW-year
REVENUE BY STREAM
Demand Charges
CPS Energy DR
ERCOT Call Option
Infrastructure Deferral
Resilience Value
Energy Arbitrage
TOTAL

## CPS Energy Data
DISTRIBUTION SYSTEM DATA (From CPS Energy Grid Planning)
Feeder ID | Substation | Feeder Capacity (kVA) | Current Peak Load (kW) | Loading % | Constraint Status | Planned Upgrade | Upgrade Cost ($) | Upgrade Timeline (years) | Buildings on Feeder | Total BESS on Feeder (kW) | Deferral Potential ($)
FEEDER-40A | SUB-13 | 700 | 455 |  |  | No | 0 | 0
FEEDER-41A | SUB-13 | 900 | 657 |  |  | No | 0 | 0
FEEDER-42A | SUB-14 | 500 | 405 |  |  | Yes | 2000000 | 3
FEEDER-43A | SUB-14 | 700 | 623 |  |  | No | 0 | 0
FEEDER-44A | SUB-14 | 900 | 585 |  |  | No | 0 | 0
FEEDER-45A | SUB-15 | 500 | 365 |  |  | Yes | 2000000 | 3
FEEDER-46A | SUB-15 | 700 | 567 |  |  | No | 0 | 0
FEEDER-47A | SUB-15 | 900 | 801 |  |  | No | 0 | 0
FEEDER-48A | SUB-16 | 500 | 325 |  |  | Yes | 2000000 | 3
FEEDER-49A | SUB-16 | 700 | 511 |  |  | No | 0 | 0
FEEDER-50A | SUB-16 | 900 | 729 |  |  | No | 0 | 0
FEEDER-51A | SUB-17 | 500 | 445 |  |  | Yes | 2000000 | 3
FEEDER-52A | SUB-17 | 700 | 455 |  |  | No | 0 | 0
FEEDER-53A | SUB-17 | 900 | 657 |  |  | No | 0 | 0
FEEDER-54A | SUB-18 | 500 | 405 |  |  | Yes | 2000000 | 3
CPS ENERGY RATE SCHEDULES
Rate Class | Summer Demand ($/kW-month) | Winter Demand ($/kW-month) | Energy On-Peak ($/kWh) | Energy Off-Peak ($/kWh) | Fixed Charge ($/month)
LGS - Large General Service | 22.5 | 12 | 0.072 | 0.045 | 150
GS - General Service | 18 | 10 | 0.065 | 0.04 | 75
MLG - Medium/Large General | 20 | 11 | 0.068 | 0.042 | 100
HISTORICAL DR EVENT DATA (Request from CPS Energy)
Date | Event Type | Start Time | End Time | Duration (hours) | Trigger | ERCOT RT Price ($/MWh)
2024-07-15 | Summer | 14:00 | 17:00 | 3 | Heat Wave | 125
2024-07-22 | Summer | 15:00 | 18:00 | 3 | High Demand | 95
2024-08-03 | Summer | 13:00 | 16:30 | 3.5 | ERCOT Emergency | 245
2024-12-22 | Winter | 07:00 | 10:00 | 3 | Cold Snap | 180
[Add more rows as data received]
EVENT STATISTICS
Average Events per Year | [Calculate after data entry]
Average Summer Events | 25 (typical)
Average Duration (hours) | 3.0

## Financial Model
PROJECT FINANCIAL MODEL
CAPITAL EXPENDITURES (CAPEX)
BESS Equipment & Installation
Total Capacity (kW) |  | From Building Inventory
Unit Cost ($/kW) | 1200 | Range: $1,100-1,300/kW
Total Equipment & Install |  | Equipment, inverters, BMS, installation
Soft Costs
Engineering & Design (5%)
Permits & Interconnection (2%)
Project Management (3%)
Contingency (10%)
TOTAL CAPEX
ANNUAL OPERATING EXPENSES
Operations & Maintenance
O&M (% of CAPEX) | 0.015 | 1.5% assumption
Annual O&M Cost
Monitoring & Software ($/kW-year) | 15
Software Cost
Insurance (% of CAPEX) | 0.005 | 0.5% assumption
Annual Insurance
Property Tax | 0 | Municipal property - exempt
Total Annual O&M
Battery Replacement (Year 15)
Replacement Cost (50% of CAPEX)
ANNUAL REVENUES
Demand Charge Reduction
CPS Energy DR
ERCOT Call Option
Infrastructure Deferral (Annualized)
Resilience Value
Energy Arbitrage
TOTAL ANNUAL REVENUE
20-YEAR CASH FLOW ANALYSIS
Year | CAPEX | Demand Charges | CPS DR | ERCOT Call | Infrastructure | Resilience | Arbitrage | Total Revenue | O&M Costs | Battery Replacement | Net Cash Flow | Cumulative CF
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
1 | 0
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
KEY FINANCIAL METRICS
Net Present Value (5% discount) |  | 20-year NPV at 5% discount rate
Internal Rate of Return (IRR) |  | Overall project IRR
Modified IRR (MIRR, 5% reinvest) |  | MIRR with 5% reinvestment rate
Simple Payback (years) |  | Years to positive cumulative cash flow
Benefit-Cost Ratio |  | PV of benefits / PV of costs
Annual Revenue per kW |  | Average $/kW-year
Levelized Cost of Storage ($/kWh) |  | Total costs / total kWh throughput

## Sensitivity Analysis
SENSITIVITY ANALYSIS
Base Case NPV
ONE-WAY SENSITIVITY: Demand Charge Savings Impact on NPV
Variable: Demand Charge Savings ($/kW-year)
Base Case:
Sensitivity Range:
% Change | -50% | -25% | Base | +25% | +50% | +75% | +100%
Demand $/kW-yr | 110 | 165 | 220 | 275 | 330 | 385 | 440
Note: Use Excel Data Table feature: Select A11:H13, Data > What-If Analysis > Data Table | [Data Table] | [Data Table] |  | [Data Table] | [Data Table] | [Data Table] | [Data Table]
TWO-WAY SENSITIVITY: NPV ($M) - Demand Charges vs CAPEX
Demand $/kW-yr → ↓ CAPEX $/kW | 150 | 180 | 220 | 260 | 300 | 350
1000 | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table]
1100 | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table]
1200 | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table]
1300 | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table]
1400 | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table]
1500 | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table] | [Data Table]
Note: Use Excel Data Table feature: Select A18:G24, Data > What-If Analysis > Data Table
SCENARIO COMPARISON
Metric | Conservative | Base Case | Aggressive | Units
Demand Charges ($/kW-yr) | 180 | 220 | 280 | $/kW-yr
DR Events per Year | 15 | 25 | 30 | events
Infrastructure Deferral ($/kW-yr) | 10 | 40 | 100 | $/kW-yr
CAPEX ($/kW) | 1300 | 1200 | 1100 | $/kW
Annual Revenue |  |  |  | $
Total CAPEX |  |  |  | $
NPV (20-year, 5%) | [Calculate] |  | [Calculate] | $
IRR | [Calculate] |  | [Calculate] | %
Simple Payback | [Calculate] |  | [Calculate] | years
TORNADO CHART DATA: NPV Sensitivity to Key Variables
Variable | Low Value | Low NPV | Base NPV | High Value | High NPV | Range
Demand Charges ($/kW-yr) | 180 | [Calculate] |  | 280 | [Calculate]
DR Events/year | 15 | [Calculate] |  | 30 | [Calculate]
Infrastructure ($/kW-yr) | 10 | [Calculate] |  | 100 | [Calculate]
CAPEX ($/kW) | 1400 | [Calculate] |  | 1000 | [Calculate]
Battery Life (years) | 12 | [Calculate] |  | 18 | [Calculate]

## Prioritization Scoring
BUILDING PRIORITIZATION SCORING (100-Point Scale)
Building ID | Building Name | 1. Demand Charge (30%) | Annual Savings ($) | Score (0-30) | 2. Infrastructure (25%) | Feeder Loading % | Upgrade Timeline (yrs) | Constraint Mult | Timeline Mult | Score (0-25) | 3. DR+ERCOT (20%) | Annual Revenue ($) | Score (0-20) | 4. Resilience (15%) | Critical Facility | Facility Type | Multiplier | Score (0-15) | 5. Site Ready (10%) | Electrical Score | Space Score | Score (0-10) | TOTAL SCORE | Rank | Phase
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
[20 empty] | 0.8 | 0.8
SUMMARY STATISTICS
Average Score |  |  | Phase 1 Buildings
Median Score |  |  | Phase 2 Buildings
High Score |  |  | Phase 3 Buildings
Low Score

## Phase Planning
DEPLOYMENT PHASE PLANNING
PHASE 1: PROOF OF CONCEPT (Year 1)
Rank | Building | BESS (kW) | Battery (kWh) | CAPEX ($) | Annual Rev ($) | Payback (yrs) | Deploy Quarter | Feeder | CPS Coord | Site Survey | Design | Permit | Commission Date
[7 empty] | Q1 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q1 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q1 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q2 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q2 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q2 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q3 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q3 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q3 |  | Yes | Not Started | Not Started | Not Started
[7 empty] | Q4 |  | Yes | Not Started | Not Started | Not Started
Phase 1 Totals:
PHASE 2: STRATEGIC EXPANSION (Year 2-3)
Rank | Building | BESS (kW) | Battery (kWh) | CAPEX ($) | Annual Rev ($) | Payback (yrs) | Deploy Quarter | Feeder | CPS Coord | Site Survey | Design | Permit | Commission Date
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
[7 empty] | TBD |  | Pending | Not Started | Not Started | Not Started
Phase 2 Totals:
PHASE 3: FULL DEPLOYMENT (Year 3-5)
Buildings: | Rank 26-38 (13 buildings)
Status: | Pending Phase 1-2 completion
OVERALL PROJECT SUMMARY
Metric | Phase 1 | Phase 2 | Phase 3 | TOTAL
Buildings | 10 | 15 | 13 | 38
Capacity (MW)
CAPEX ($M)
Annual Revenue ($M)
Avg Payback (years) |  |  | 1.9
Timeline
Start | Q1-2026 | Q1-2027 | Q1-2028
Complete | Q4-2026 | Q4-2027 | Q4-2028